|  |  |
| --- | --- |
|  | **MAHARASHTRA COSMOPOLITAN EDUCATION SOCIETY****Azam Campus, Pune – 411 001** |

E-Content Description

Name of School / College: M A Rangoonwala Institute of Hotel Management and Research

|  |  |
| --- | --- |
| Name and Designation of content creator /Producer | Assoc. Prof Imran Sayyed |
| Title of E content  | Traps - Types |
| Theory/practical | Theory |
| Title and No of Module  | Traps - Types |
| Title and code of Paper  | The Science of Hotel EngineeringSubject Code : HS 206 |
| Broad Subject | Hotel Engineering |
| Course | BScHS |
| Class | SY  |
| Semester | Third Semester  |
| University /Board | SPPU |
| Date of Content Creation |  22 Jan 2020 |
| Name of ReviewerHOD/Principal | Imran Sayyed |

Traps - Types and Uses

A trap is a device which is used to prevent sewer gases from entering the buildings. The traps are located below or within a plumbing fixture and retains small amount of water. The retaining water creates a water seal which stops foul gases going back to the building from drain pipes. Therefore all plumbing fixtures such as sinks, washbasins, bathtubs and toilets etc. are equipped with traps. This article tells you the features of traps, various types of traps and water seal.

A trap has following features.

* It may be manufactured as an integral trap with the appliance as in some models of European WC, or it may be a separate fitting called an attached trap, which is connected to waste or foul water outlet of appliances.

* The traps should be of a self-cleansing pattern.
* Traps for use in domestic waste should be convenient for cleaning.
* A good trap should maintain an efficient water seal under all conditions of flow.

**Various Types of Traps**

|  |  |
| --- | --- |
| 1. Gully Trap:These traps are constructed outside the building to carry waste water discharge from washbasin, sinks, bathroom etc. and are connected to the nearest building drain/sewer so that foul gases from sewer do not come to the house. These are deep seal traps, the depth of water seal should be 50 mm minimum. It also prevents the entry of cockroach and other insects from sewer line to waste pipes carrying waste water.Plumbing trap**(Gully Trap)** | 2. P. Trap:This trap is used with Indian water closet (ORISSA Pattern). The traps are made from cast iron or UPV sheet. This trap also has water seal and prevents entry of foul gases to the house.  Drain traps**(P Trap)** |
| 3. S. Trap:This trap is similar to P. trap and is used for fixing water closets in toilets. The only difference between P trap and S trap is that P. trap is used for outlet through the wall whereas S. trap is used for outlet through the floor.plumbing trap |  Drainage trap**(S Trap)**4. Floor Trap or Nahini Trap:This trap is provided in the floor to collect waste water from washbasin, shower, sink and bathroom etc. These are available in cast iron or UPVC material and have removable grating (JALI) on the top of the trap. The minimum depth of water seal should be 50 mm. |

5. Intercepting Trap:

this trap is provided at the last main hole of building sewerage to prevent entry of foul gases from public sewer to building sewer. It has a deep-water seal of 100 mm.

6. Grease Trap:

this trap is a device to collect the grease contents of waste and can be cleaned from the surface. This is generally used in food processing unit.



(This picture is contributed by"S.Krishnan")

7. Bottle Trap:

This trap is used below washbasin and sinks to prevent entry of foul gases.



(This picture is contributed by "S.Krishnan")

8. Q Trap:

This trap is used in toilet under water closet. It is almost similar to S trap and is used in upper storey other than ground floor.

Refferences:

ihmhotelengineeringnotes.blogspot.com

ihmhotelengineeringnotes.blogspot.com

https://lecturenotes.in/m/21160-note-of-hotel-engineering-by-victor-agughasi

ihmkolkata.blogspot.com/2013/04/ihm-kolkata.html

Hotel Engineering - IHM PUSA

ihmpusa.net › wp-content › uploads › 2016/12 › Hotel-Engineering-0

https://www.newtondesk.com/refrigeration-and-air-conditioning-study-notes-hand-written/

en.wikipedia.org/wiki/

encyclopedia2.thefreedictionary.com

www.kopykitab.com/Engineering

www.faadooengineers.com/forums/112-Engineering-Ebooks.

Hotel Engineering Robert F eilliot

Hotel Engineering Tarun Bansal